{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["高清监控系统"],"read":"whole","date_system":"1900"}

{"sheet":"高清监控系统","index":0,"n_rows":3,"n_cols":5,"rows_kept":3,"merged":[[0,0,0,4]]}
["花城汇3区电房直流屏更换项目工程量清单"]
["序号","项目名称","项目特征描述","单位","工程量"]
[1,"花城汇3区电房直流屏","充馈电一体屏   800*600*2200  1台\n监控器（脉通） MTJKX05       1台\n高频整流模块（脉通）  MTD22010F6   2台\n系统机架    MTJJ01/3/1    1台\n降压单元    DT-20A/25V    1台\n蓄电池（理士/易事特）12V38AH   18只\n开关及端子排  C65H 1路合母2路控母1路交流输出","套",1]