{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":6,"n_cols":5,"rows_kept":6,"merged":[[0,0,0,4],[1,0,1,3]],"flags":["formulas_cached_only"]}
["流花展贸中心拆除4号馆首层风机房内设备项目                                                "]
["工程名称：拆除4号馆首层风机房内设备项目"]
["序号","项  目  名  称","数量","单位","备  注"]
[1,"立式空调风柜迁移(不含冷冻水管)",1,"台","5wv-200t6R风量2000M3，功率4P/5.5，迁移至南广场"]
[2,"冷冻水管切除封闭",5,"根","氧割、氧焊，直径20cm冷冻水管"]
[3,"高空作业脚手架、安全防护等文明施工作业费",1,"项","搭设、拆除、清走"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}