{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["工程量清单"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"工程量清单","index":0,"n_rows":9,"n_cols":4,"rows_kept":9,"merged":[[0,0,0,3],[1,0,1,3],[3,1,3,3],[5,1,5,3],[7,1,7,3]],"flags":["formulas_cached_only"]}
["工程量清单"]
["工程名称：流花展贸中心水力警铃及喷淋末端改造项目"]
["序号","项目名称及说明","单位","工程量"]
["一","水力警铃改造工程"]
["1","DN25镀锌水管","米",480]
["二","喷淋末端改造工程"]
["1","DN25镀锌水管","米",50]
["三","其他费用"]
["1","放水费","项",1]