{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":7,"n_cols":6,"rows_kept":7,"merged":[[0,0,0,5],[1,0,1,5]]}
["工程量清单"]
["项目：流花展贸中心7台电梯空调施工项目"]
["序号","产品名称","材料明细","数量","单位"," 备注"]
[1,"电梯专用空调","朗得YKT-D25型",7,"台","1P单冷型,遥控器定时开关，出风管、回风管，风嘴，支架等附件"]
[2,"电梯专用电缆","8芯扁电缆",350,"米"]
[3,"安装费 ",null,7,"台"]
[4,"磅机调整电梯载重平衡（含增加对重块2件）",null,7,"台"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0}