{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["报价单 "],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"报价单 ","index":0,"n_rows":19,"n_cols":7,"rows_kept":19,"merged":[[0,0,0,6],[15,1,15,5]],"flags":["formulas_cached_only"]}
["新中轴线花城广场消防栓给水修缮维修项目工程量清单"]
["序号","项目名称","项目特征描述","计量单位","数量 ","单价","合价"]
[1,"室外栓DN150安装","1.室外栓DN150安装\n2.压力试验","套",1]
[2,"室外栓DN150拆除","1.室外栓DN150拆除","套",1]
[3,"土方开挖",null,"m³",6.75]
[4,"土方回填",null,"m³",6.75]
[5,"钢丝网骨架（PE）复合管DN150安装","1.管道及管件安装\n2.压力试验","m",{"v":6,"d":"6.00"}]
[6,"钢丝网骨架（PE）复合管DN150拆除","1.管道及管件拆除\n2.压力试验","m",{"v":2.5,"d":"2.50"}]
[7,"增加45度电熔弯头DN150",null,"个",4]
[8,"增加电熔正三通DN150",null,"个",1]
[9,"增加法兰短管DN150",null,"个",1]
[10,"潜污泵临时排水",null,"台",1]
[11,"电熔机（租用）",null,"台",1]
[12,"机具进退场",null,"项",1]
[13,"安全文明措施费",null,"项",1]
[null,"总计"]
[]
[{"$nulls":3},"报价单位：（盖章）"]
[{"$nulls":3},"联系人及联系电话："]