{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["报价单 "],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"报价单 ","index":0,"n_rows":14,"n_cols":7,"rows_kept":14,"merged":[[0,0,0,6],[10,1,10,5]],"flags":["formulas_cached_only"]}
["物业升级管理服务之花城汇（中区）81号风机房风管及T接箱维修更换项目工程量清单"]
["序号","项目名称","项目特征描述","计量单位","数量 ","单价","合价"]
[1,"配电箱安装","1.名称：冷轧铁板配电箱\n2.尺寸：800*700*250\n3.铜线端子16个 型号70mm2\n4.铜排5*0.5m","台",1]
[2,"配电箱安装","1.名称：冷轧铁板配电箱\n2.尺寸：800*700*250","台",1]
[3,"配电箱拆除","1.尺寸：800*700*250","台",2]
[4,"镀锌铁皮通风管道制作及安装","1.截面尺寸：300*600\n2.长度：7m\n3.材质：镀锌铁皮1.5mm厚","㎡",16.8]
[5,"镀锌铁皮通风管道制作及安装","1.截面尺寸：600*600\n2.长度：3m\n3.材质：镀锌铁皮1.5mm厚","㎡",5.4]
[6,"管道拆除","1.截面尺寸：600*600\n2.长度：7m\n3.材质：镀锌铁皮1.5mm厚","㎡",16.8]
[7,"管道拆除","1.截面尺寸：300*600\n2.长度：3m\n3.材质：镀锌铁皮1.5mm厚","㎡",5.4]
[8,"余方弃置","1.风管、配电箱外运","m³",1]
[null,"总计"]
[]
[{"$nulls":3},"报价单位：（盖章）"]
[{"$nulls":3},"联系人及联系电话："]