{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["报价单 "],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"报价单 ","index":0,"n_rows":12,"n_cols":7,"rows_kept":12,"merged":[[0,0,0,6],[8,0,8,5]],"flags":["formulas_cached_only"]}
["新中轴线南大巴停车场指示灯改造项目工程量清单"]
["序号","项目名称","规格型号","计量单位","数量 ","单价","合价"]
[1,"配线","1.名称：管内穿线\n2.型号：ZR-BVR\n3.规格：2.5mm2\n4.材质：铜芯","m",1431]
[2,"配管","1.名称：镀锌电线管\n2.规格：DN20mm\n3.配置形式：明配","m",424]
[3,"标志、诱导装饰灯具 吸顶（墙壁）式","拆除应急指示灯","套",53]
[4,"装饰灯","1.名称：应急指示灯\n2.安装形式：墙壁","套",53]
[5,"接线盒","1.塑料接线盒明装 86型","个",53]
[6,"送配电装置系统","1.送配电装置系统调试  1kv以下交流供电（综合）","系统",1]
["总计"]
[]
[{"$nulls":3},"报价单位：（盖章）"]
[{"$nulls":3},"联系人及联系电话："]