{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["工程量清单"],"read":"whole","date_system":"1900"}

{"sheet":"工程量清单","index":0,"n_rows":27,"n_cols":9,"rows_kept":27,"merged":[[0,0,0,8],[1,0,3,0],[1,1,3,1],[1,2,3,3],[1,4,3,4],[1,5,3,5],[1,6,1,8],[2,6,3,7],[2,8,3,8],[4,0,4,8],[5,2,5,3],[5,6,5,7],[6,2,6,3],[6,6,6,7],[7,2,7,3],[7,6,7,7],[8,2,8,3],[8,6,8,7],[9,2,9,3],[9,6,9,7],[10,2,10,3],[10,6,10,7],[11,2,11,3],[11,6,11,7],[12,2,12,3],[12,6,12,7],[13,2,13,3],[13,6,13,7],[14,2,14,3],[14,6,14,7],[15,2,15,3],[15,6,15,7],[16,2,16,3],[16,6,16,7],[17,2,17,3],[17,6,17,7],[18,0,18,8],[19,2,19,3],[19,6,19,7],[20,2,20,3],[20,6,20,7],[21,2,21,3],[21,6,21,7],[22,0,22,8],[23,2,23,3],[23,6,23,7],[24,0,24,7],[25,0,25,7],[26,0,26,7]]}
["流花展贸中心1号馆大堂门口、9号馆大医汇后门、一号门通道排水管更换项目"]
["序号","项目名称","项目特征描述",null,"计量单位","工程量","金额（元）"]
[{"$nulls":6},"不含税单价",null,"不含税合价"]
[]
["排水管"]
[1,"楼(地)面砂浆防水(防潮)","1.防水层做法:水泥基渗透结晶型涂料 涂膜1mm \u007f实际厚度(mm):2",null,"m2",24]
[2,"注浆堵漏 水溶性聚氨脂 混凝土结构","1.注浆堵漏 水溶性聚氨脂 混凝土结构",null,"m",13]
[3,"玻璃栏板换玻璃","1.栏杆玻璃的种类、规格、颜色:夹胶玻璃 8+0.76+8",null,"m",1.04]
[4,"平面块料拆除","1.拆除的基层类型:平面块料拆除 砖地面 砂结合层 \u007f铲除找平层 人工费+200",null,"m2",22.39]
[5,"人工单项拆除 混凝土基础 无钢筋","1.人工单项拆除 混凝土基础 无钢筋",null,"m3",4.478]
[6,"挖基坑土方",null,null,"m3",17.92]
[7,"回填中砂","1.密实度要求:夯填\n2.填方材料品种:中砂",null,"m3",17.92]
[8,"余方弃置","1.废弃料品种:土方\n2.运距:20KM",null,"m3",17.92]
[9,"混泥土垫层","1.混凝土种类:预拌砼\n2.混凝土强度等级:C20",null,"m3",4.478]
[10,"广场砖修复（1号馆门口）","1.找平层厚度、砂浆配合比:楼地面水泥砂浆找平层 混凝土或硬基层上 20mm\n2.面层材料品种、规格、颜色:广场砖 300*300",null,"m2",3.5]
[11,"大理石地面修复（1号馆门口）","1.找平层厚度、砂浆配合比:楼地面水泥砂浆找平层 混凝土或硬基层上 20mm\n2.面层材料品种、规格、颜色:大理石 800*400",null,"m2",7.98]
[12,"广场地砖修复(9号馆门口)","1.找平层厚度、砂浆配合比:楼地面水泥砂浆找平层 混凝土或硬基层上 20mm\n2.面层材料品种、规格、颜色:广场地砖 50*50",null,"m2",10.91]
[13,"塑料管","1.安装部位:室外\n2.材质、规格:PVC DN110\n3.连接形式:粘接",null,"m",23.1]
["广告"]
[14,"旧广告拆除","1.墙柱面拆除 金属龙骨",null,"m2",8]
[15,"安装新广告","1.基层材料种类:角钢和木龙骨\n2.防护材料种类:角钢刷防锈漆两遍、龙骨刷防火涂料两遍 \n3.面层材料种类:铝合金方条",null,"m2",8]
[16,"余方弃置","1.拆除废料外运 人工装自卸汽车运 3km内 \u007f实际运距(km):20",null,"m3",0.8]
["措施项目"]
[17,"活动脚手架","1.天棚活动脚手架",null,"m2",24]
["不含税费用合计（元）"]
["税费（税率   %）"]
["含税费用合计（元）"]