{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["工程量"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"工程量","index":0,"n_rows":11,"n_cols":7,"rows_kept":11,"merged":[[0,0,0,6],[5,1,5,5],[6,1,6,5],[7,1,7,5]],"flags":["formulas_cached_only"]}
["花城汇中区低压电房应急电源维修更换工程量报价表"]
["序号","项目名称","项目特征","单位","数量","不含税单价","不含税合价"]
[1,"EPS主机","1.更换EPS主机；                                  2.品牌规格型号：柏克 BK-YJ-3KW；                3.安装调试","台",1]
[2,"蓄电池","1.更换蓄电池；                                       2.品牌规格型号：EAST，12V38AH；                            3.安装调试","节",8]
[3,"蓄电池","1.更换蓄电池；                                      2.品牌规格型号：EAST，12V17AH；                     3.安装调试","节",16]
[4,"不含税费用合计"]
[5,"税费（税率   %）"]
[6,"含税费总价"]
[]
[{"$nulls":3},"报价单位：（盖章）"]
[{"$nulls":3},"联系人及联系电话："]