{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["封面","清单"],"read":"whole","date_system":"1900"}

{"sheet":"封面","index":0,"n_rows":18,"n_cols":6,"rows_kept":18,"hidden":true,"merged":[[0,0,0,5],[1,0,1,5],[2,0,2,5],[5,0,5,1],[6,0,6,5],[7,0,7,4],[8,1,8,5],[9,0,9,5],[9,6,9,7],[10,0,10,5],[11,0,11,5],[11,6,11,7],[12,6,12,7],[13,0,13,5],[13,6,13,7],[14,0,14,5],[14,6,14,7],[15,0,15,5],[15,6,15,7],[16,0,16,5],[17,0,17,5]]}
["花城汇低压柜ABB主开关检测项目\n限价"]
["自编号：J19-0"]
["    根据服务中心提供的工程量清单，我部根据市场价格，编制的“限价”如下："]
["序号","项目名称","不含税费用（元）","税金（6%）","费用合计（元）","备注"]
[1,"花城汇低压柜ABB主开关检测项目",{"$f":"清单!#REF!","v":{"$error":"#REF!"}},{"$f":"清单!#REF!","v":{"$error":"#REF!"}},{"$f":"清单!#REF!","v":{"$error":"#REF!"}}]
["合计："]
[]
["注：该限价已经包含完成该服务项目所需全部费用，服务内容及要求详见招标文件。"]
[]
[]
["    凡高于上述\"限价\"的投标文件将视为无效标书。"]
["专此函达。"]
[]
["编制人："]
["编制日期："]
["审核人："]
["审核日期："]
["项目经办人："]

{"sheet":"清单","index":1,"n_rows":25,"n_cols":10,"rows_kept":25,"merged":[[0,0,0,9],[18,1,18,7],[19,1,19,7],[20,1,20,7]]}
["海心沙1#低压电房AA3电容补偿柜修复工程量报价表"]
["序号","名称","配件","型号","厂家","单位","数量","不含税单价","不含税合价","备注"]
[1,"海心沙1#低压房1-3AA3电容补偿铺柜","400A隔离开关熔断器组","HH15400/31","环宇集团有限公司","组",1,null,null,"提供绝缘电阻测试、交流耐压测试报告"]
[2,"海心沙1#低压房1-3AA3电容补偿铺柜","温湿度控制器","HWS-1TKJ/A6","/","个",1]
[3,"海心沙1#低压房1-3AA3电容补偿铺柜","电抗器","3E30189400","Made by IN-POWERELECTRIC","个",2,null,null,"提供直流电阻测试，绝缘电阻测试，交流耐压测试报告"]
[4,"海心沙1#低压房1-3AA3电容补偿铺柜","电抗器","3E50189400","Made by IN-POWERELECTRIC","个",3,null,null,"提供直流电阻测试，绝缘电阻测试，交流耐压测试报告"]
[5,"海心沙1#低压房1-3AA4电容补偿铺柜","电容器","UHPC-3-7.0-525-3P","Made by IN-POWERELECTRIC","个",8]
[6,"海心沙1#低压房1-3AA3电容补偿铺柜","电流互感器400/5A","LMKG-0.66-401","广东省深圳市新安电力设备厂","套",1]
[7,"海心沙1#低压房1-3AA3电容补偿铺柜","400V浪涌","OVRBT270-440sC","ABB","组",1]
[8,"海心沙1#低压房1-3AA3电容补偿铺柜","63A熔断器","RT20-000","宁波开关电器制造有限公司","个",9]
[9,"海心沙1#低压房1-3AA3电容补偿铺柜","单芯黑色电缆","10mmBVV-10","珠江","卷",1]
[10,"海心沙1#低压房1-3AA3电容补偿铺柜","16mm2全包铜线耳","圆孔DTG-16","/","个",21]
[11,"海心沙1#低压房1-3AA3电容补偿铺柜","10mm2全包铜线耳","圆孔DTG-10","/","个",21]
[12,"海心沙1#低压房1-3AA3电容补偿铺柜","125A熔断器","RT20-000","宁波开关电器制造有限公司","个",9]
[13,"海心沙1#低压房1-3AA3电容补偿铺柜","63A接触器（AC220）","UA50","ABB","个",2]
[14,"海心沙1#低压房1-3AA3电容补偿铺柜","125A接触器（AC220）","UA95","ABB","个",3]
[15,"海心沙1#低压房1-3AA3电容补偿铺柜","单芯黑色电缆","16mmBVV-16","珠江","卷",1]
[16,"检测调试",{"$nulls":3},"项",1]
[17,"不含税费用合计"]
[18,"税费（税率  %）"]
[19,"含税费总价"]
[]
[]
[{"$nulls":7},"报价单位：（盖章）"]
[{"$nulls":7},"联系人及联系电话："]